A General DNA extraction and PCR protocol 			(Schwarz lab)

- DNA Extraction (Qiagen DNeasy Tissue and Blood kit)

  - remove anemone from dish, blot dry, place into a 1.5ml microfuge tube.

  - Immediately  freeze in -80 or -20 freezer for 10 minutes

  - Add 180ul of buffer ATL (Lysis buffer)

  - Add 20ul of proteinase K

  - Homogenize using a blue pestle until no chunks remain

  - Spin at 6000g for 1 min to pellet cell debris

  - Transfer supernatant to a new tube (discard pellet)

  - proceed with the directions in the manual (Animal tissue, microfuge protocol)

  - Elute in 100ul RNAse-free water instead of 200ul

- PCR (set up on ice)

- Prepare master mix

| Component | 1 Rxn |  |
| --- | --- | --- |
| 10X Buffer | 1.5 ul |  |
| MgCl2 | 0.6 ul |  |
| dNTPs | 0.3 ul |  |
| ddH20 | 9.3 ul |  |
| Taq | 0.15 ul |  |
| BSA | 0.15 ul |  |
|  | 12.0 |  |

For 4 reactions

6.0ul

2.4ul

1.2ul

37.2ul

0.6ul

0.6ul

- Pipet 12ul of Master Mix into each PCR tube

- Add 1ul of Reverse primer and 1ul forward primer to the corresponding tube

- Add 1ul of DNA to 14ul MM/primers

- Cap tube and vortex briefly

- Spin down (use adaptor tubes!)

PCR program

1	94°C      2:30mim

2	56°C      1:00min

3	72°C      2:00min

4	94°C      1 :00min

5	56°C      1 :00min

6	72°C      2 :30min

7	29X to step 4;

8	72 for 8 mi

- 4 for forever

- Restriction digest

Master Mix

Component		1x reaction

10x buffer		 	2.5ul

100xBSA			0.25ul

Taq1alpha			0.25ul

Water			0.5ul

  - Add 3ul master mix to 22 ul of PCR product

  - Incubate at 65 ºC for 1 hour in heat block

  - Incubate at 80 ºC for 20 minutes to deactivate enzyme

  - Run on a 1% agarose gel

- Agarose gel electrophoresis

  - Weigh 1g of agarose (by shaking agarose into a small weigh boat)

  - Pour into 100ml of 1x TBE in a small glass bottle.  Cap the bottle very loosely with a cap (must be loose enough to allow steam to vent)

  - Heat in microwave for just less than one minute, with periodic swirling, to dissolve agarose.  The solution should be boiling, but not furiously.

  - Remove flask from microwave and allow to cool until flask is just barely too hot to sit in palm

  - Add Ethidium bromide (under hood): 5ul of EtBr per 20 ml of gel.  Do not allow pipet barrel to touch the inside of the EtBr tube!!!

  - Swirl to mix

  - Pour gel into rig (don’t forget the comb!)

  - Allow to cool for about 20 minutes

  - Run at 100V for 30 minutes to 45 minutes.